## ProductDataResults
Internal ID | Name | Override Automation Cost | Item Category | Item Subcategory | Section | Brand | Family | Manufacturer | UPC | GTIN | Type | Weight | Dimensions | Sales Description (Translated) | Website Title | Website Description | MSRP | Phase | Voltage | Amperage | AIC rating | Connection | Poles | Protection | Functions | Panel Type | Breaker Type | Average Cost | Base Price | Item Image | Website Description | Base Price | Coil Voltage Maximum | Coil Voltage Minimum | Horse Power | Image Url | Frame Size | Country of Origin | Connection | Temp Rating | Wire | Standards | Terminal Connection | Certification | Configuration | Switch Style
102559 | A200M0CAC | 0 | Motor Control | Motor Starter |  | Cutler Hammer | A200 Series | Cutler Hammer | 786678231105 | 00786678231105 | A200 | 45 |  |  | A200M0CAC Cutler Hammer A200 Series Motor Starter 3 pole 3 phase 600V 18A 110V coil | The Cutler Hammer A200M0CAC A200 Series Motor Starter is a 600V 3 phase 18A 3 pole starter. This starter comes complete with a 110V coil. Heater Packs must be purchased separately. Every part Essential Electric sells is also backed by our industry-leading gold standard 2-year warranty. | 973 | 3 | 600 | 18 |  |  | 3 | [5 empty] | 424.86 |  | The Cutler Hammer A200M0CAC A200 Series Motor Starter is a 600V 3 phase 18A 3 pole starter. This starter comes complete with a 110V coil. Heater Packs must be purchased separately. Every part Essential Electric sells is also backed by our industry-leading gold standard 2-year warranty. | 424.86 | 120 | 110 |  | https://motorsandcontrols.s3.us-west-1.amazonaws.com/a200m0cac.jpg |  | Dominican Republic | [5 empty] | UL Listed,CSA Certified
99272 | EDB34030 | 0 | Circuit Breaker | Molded Case |  | Square D | EDB Series | Square D | 785901875260 | 00785901875260 | EDB | 1.7 | 2.94 in x 5.66 in x 5.66 in |  | EDB34030 - Square D Bolt-on 480Y/277 VACV 30A 3 pole circuit breaker 18kA@480V | The Square D EDB34030 is a Molded Case Circuit Breaker. This type EDB circuit breaker is a member of The EDB Series family. The EDB34030 is a 3 pole, 480Y/277 VAC Volt, 30 amp rated circuit breaker, with an AIC rating of 18kA@480V. The EDB34030 is manufactured by Square D. The EDB34030 uses a Bolt-on connection. Includes Thermal Magnetic protection. Every part Essential Electric sells is also backed by our industry-leading gold standard 2-year warranty. | 669 | 3 | 480Y/277 VAC | 30 | 18kA@480V | Bolt-on | 3 | Thermal Magnetic | LI - Long-Time and Instantaneous | NF panelboard | Standard |  | 211.93 |  | The Square D EDB34030 is a Molded Case Circuit Breaker. This type EDB circuit breaker is a member of The EDB Series family. The EDB34030 is a 3 pole, 480Y/277 VAC Volt, 30 amp rated circuit breaker, with an AIC rating of 18kA@480V. The EDB34030 is manufactured by Square D. The EDB34030 uses a Bolt-on connection. Includes Thermal Magnetic protection. Every part Essential Electric sells is also backed by our industry-leading gold standard 2-year warranty. | 211.93 |  |  |  | https://se-image.s3.us-west-1.amazonaws.com/EDB34030_0.jpg | 125A/EDB | Mexico | Bolt-on | 104 °F (40 °C) |  | cULus | Lug | cULus
129432 | FXD63B100L | 0 | Circuit Breaker | Molded Case |  | Siemens | Sentron Series | Siemens | 783643005808 | 00783643005808 | FXD | 12 | 5.906 x 9.843 x 6.693 (W x H x D) Inches |  | FXD63B100L - Siemens Feed-Thru 600V 100A 3 pole circuit breaker 35kA@480V | The Siemens FXD63B100L is a Molded Case Circuit Breaker. This type FXD circuit breaker is a member of The Sentron Series family. The FXD63B100L is a 3 pole, 600 Volt, 100 amp rated circuit breaker, with an AIC rating of 35kA@480V. The FXD63B100L is manufactured by Siemens. The FXD63B100L uses a Feed-Thru connection. Includes Thermal Magnetic protection. Every part Essential Electric sells is also backed by our industry-leading gold standard 2-year warranty. | 6516 | 3 | 600 | 100 | 35kA@480V | Feed-Thru | 3 | Thermal Magnetic | LI - Long-Time and Instantaneous | S4, P4, SPP, F1,FC1, FCII, CDP-5, CDP-6, SB1-3, S5, P5, SPP/FPP, F2 | Standard |  | 1055.85 |  | The Siemens FXD63B100L is a Molded Case Circuit Breaker. This type FXD circuit breaker is a member of The Sentron Series family. The FXD63B100L is a 3 pole, 600 Volt, 100 amp rated circuit breaker, with an AIC rating of 35kA@480V. The FXD63B100L is manufactured by Siemens. The FXD63B100L uses a Feed-Thru connection. Includes Thermal Magnetic protection. Every part Essential Electric sells is also backed by our industry-leading gold standard 2-year warranty. | 1055.85 |  |  |  | https://motorsandcontrols.s3.us-west-1.amazonaws.com/siemens_product_grouping.jpg | FD Frame | Mexico | Feed-Thru | 104 °F (40 °C) |  |  |  | Ul Listed
122234 | HHJXD63B300 | 0 | Circuit Breaker | Molded Case |  | Siemens | Sentron Series | Siemens | 783643257832 | 00783643257832 | HHJXD | 22 |  |  | HHJXD63B300 - Siemens Bolt-On 600V 300A 3 pole circuit breaker 100kA@480V | The Siemens HHJXD63B300 is a Molded Case Circuit Breaker. This type HHJXD circuit breaker is a member of The Sentron Series family. The HHJXD63B300 is a 3 pole, 600 Volt, 300 amp rated circuit breaker, with an AIC rating of 100kA@480V. The HHJXD63B300 is manufactured by Siemens. The HHJXD63B300 uses a Bolt-On connection. Includes Thermal Magnetic protection. Every part Essential Electric sells is also backed by our industry-leading gold standard 2-year warranty. | 19097 | 3 | 600 | 300 | 100kA@480V | Bolt-On | 3 | Thermal Magnetic | LI - Long-Time and Instantaneous |  |  |  | 2520 |  | The Siemens HHJXD63B300 is a Molded Case Circuit Breaker. This type HHJXD circuit breaker is a member of The Sentron Series family. The HHJXD63B300 is a 3 pole, 600 Volt, 300 amp rated circuit breaker, with an AIC rating of 100kA@480V. The HHJXD63B300 is manufactured by Siemens. The HHJXD63B300 uses a Bolt-On connection. Includes Thermal Magnetic protection. Every part Essential Electric sells is also backed by our industry-leading gold standard 2-year warranty. | 2520 |  |  |  | https://motorsandcontrols.s3.us-west-1.amazonaws.com/783643257849_v1_r01_c03.jpg | JD Frame | Mexico | Bolt-On
3523 | HOM230GFI | 0 | Circuit Breaker | Molded Case |  | Square D | HOMELINE | Square D | 785901303237 | 00785901303237 | HOM | 1 | 2 in x 3.13 in x 3.13 in |  | HOM230GFI - Square D Plug-In 120/240 VACV 30A 2 pole circuit breaker 10kA@240V | The Square D HOM230GFI is a Molded Case Circuit Breaker. This type HOM circuit breaker is a member of The HOMELINE family. The HOM230GFI is a 2 pole, 120/240 VAC Volt, 30 amp rated circuit breaker, with an AIC rating of 10kA@240V. The HOM230GFI is manufactured by Square D. The HOM230GFI uses a Plug-In connection. Includes Thermal Magnetic protection. Every part Essential Electric sells is also backed by our industry-leading gold standard 2-year warranty. | 413 | 1 | 120/240 VAC | 30 | 10kA@240V | Plug-In | 2 | Thermal Magnetic | LI - Long-Time and Instantaneous | Homeline Load Center | Ground Fault Circuit Interrupter (Class A - 5mA) |  | 126.98 |  | The Square D HOM230GFI is a Molded Case Circuit Breaker. This type HOM circuit breaker is a member of The HOMELINE family. The HOM230GFI is a 2 pole, 120/240 VAC Volt, 30 amp rated circuit breaker, with an AIC rating of 10kA@240V. The HOM230GFI is manufactured by Square D. The HOM230GFI uses a Plug-In connection. Includes Thermal Magnetic protection. Every part Essential Electric sells is also backed by our industry-leading gold standard 2-year warranty. | 126.98 |  |  |  | https://se-images.s3.us-west-1.amazonaws.com/HOM230GFI.jpg | 100A/HOM | Mexico | Plug-In | Minimum Operating Temp 104 Degrees F Max. Operating Temp.104 Degrees F |  | CSA Certified, HACR, UL Listed | Screw Clamp | CSA Certified, HACR, UL Listed
1568696 | PDG62M1600P4YM | 0 | Circuit Breaker | Molded Case |  | Cutler Hammer | Power Defense | Eaton¦¦Cutler Hammer | 786679847275 |  |  | 97.99 |  |  |  |  | 15292.2 | 1 | 600 | 1600 | 65kA@480V | Bolt-On | 2 | Solid State | LSI - Long-Time, Short-Time and Instantaneous |  |  |  | 0 |  |  | 0 | [6 empty] | Bolt-On
401227 | VH361 | 0 | Switch | Disconnect |  | Square D | Series F | Square D | 060648589385 | 03606485893853 | H | 8.82 | 6 1/4 in x 14 1/2 in |  | VH361 Square D Series F Disconnect 600V AC/DCV 30A Fusible Switch | The Square D VH361 is a 3 phase 3 pole 600 Volt 30 Amp H type Disconnect Switch. This switch has a Nema rating of 1 and an AIC rating of 200kA@600V. The VH361 is a single switch configuration and uses class R, J, H, and K fuses. Suitable for use as service entrance equipment. | 0 | 3 | 600V AC/DC | 30 | 200kA@600V |  | 3 | [5 empty] | 260.43 |  | The Square D VH361 is a 3 phase 3 pole 600 Volt 30 Amp H type Disconnect Switch. This switch has a Nema rating of 1 and an AIC rating of 200kA@600V. The VH361 is a single switch configuration and uses class R, J, H, and K fuses. Suitable for use as service entrance equipment. | 260.43 |  |  |  | https://se-image.s3.us-west-1.amazonaws.com/VH361_0.jpg |  | United States | [5 empty] | EU RoHS, UL listed file E2875 | Single | Fusible